Insulation Accessories

	 
	Aluminum Foil Tape
	

	 
	A 2-mil thick high strength aluminum foil liner tape. Coated with a special cold weather acrylic pressure sensitive adhesive system that combines superior quick-stick at normal temperatures and excellent low temperature performance. 
Standard roll size: 2" x 30', 2" x 150' & 3" x 150". 
	

	 
	 
	


	 
	White Sheathing Tape
	[image: image1.jpg]




	 
	A strong white polypropylene tape with cold weather acrylic adhesive. This tape is specially formulated to have excellent performance characteristics at sub freezing temperatures along with good quick-stick ability for ease in applying. Standard roll size: 2" x 216'.
	

	 
	 
	


	 
	Double Coated Tape
	 

	 
	A ½-mil thick polyester tape coated on both sides with a pressure sensitive acrylic adhesive. Outstanding features are high tack, high adhesion, high shear strength and excellent low and elevated temperature performance. This tape has superior moisture resistance in high humidity. Standard roll size: 1½" x 180'. 
	

	 
	 
	


